## Slide 1
Ports (inlet & outlet) of fluid flow of Media 1, input&output (use “connect” operator)
Ports (inlet & outlet) of fluid flow of Media 2, input&output (use “connect” operator)
Heat exchange effectiveness; input (use “connect” operator)

## Slide 2
Add/Remove heat to/from fluid flow.
|Q_flow1| = |Q_flow2|
Amount of heat exchanged is calculated from fluid heat capacity of inlets and heat exchanger effectiveness which is given as real signal.
Which is inlet or outlet is NOT pre-defined. It is automatically determined depending on states of ports.
Which is hot or cold side is NOT pre-defined. It is automatically determined depending on states of inlet ports.